## Resumen
[10 empty] | TOTALES | P.U | PRECIO TOTAL
DESCRIPCION | Marca | Modelo | Rom 1156 | Rom 1213 | Rom 1355 | Rom 1359 | Rom 1360 | Rom 1361 | Rom 1390
UL certified Stell wall mount enclosure, NEMA 4, 200mm x 200mm x 150mm (WxHxD). | Tibox | ST2 215 | [6 empty] | 299 | 299 | 13.32
UL certified, Steel wall mount enclosure, NEMA Type 4, H: 600mm, W:600mm, D: 300mm, Model ST6 630, Tibox | Tibox | ST6 630 | 15 |  |  | 1 |  |  |  | 16
Wall mount bracket, Model: WC 010, Tibox | Tibox | WC 010 | 60 | [6 empty] | 60
Door Rail cross piece for door, Model: consult with factory, Tibox | Tibox | door rail | 10 | [6 empty] | 10
Earth wire for enclosure door, Model: TJ-CM6130, Tibox | Tibox | TJ-CM6130 | 60 | [6 empty] | 60
Metal lock, Model K4, Tibox | Tibox | k4 | 60 | [6 empty] | 60
UL certified, Steel wall mount enclosure, NEMA Type 4, H: 1200mm, W: 800mm, D: 300mm, Model ST8 1230, Tipox. | Tibox | ST8 1230 | 45 | [6 empty] | 45
Stell wall mount enclosure, NEMA 4, 400mm x 400mm x 150mm (WxHxD) | Tibox | ST4 415 |  |  |  | 70 |  |  |  | 70
0
0
0
0
20VA Transformer | Distech | PW-TR20VA001 |  |  |  |  | 70 |  | 299 | 369
40VA transformer | Distech | PW-TR40VA001 |  | 40 | [5 empty] | 40
75VA Transformer | Distech | PW-TR75VA001 |  |  | 29 |  | 1 | 13 |  | 43
0
0
Air Throughput 600 cfm Fa | Orion Fan | OA225LFG111T |  | 40 | 29 |  |  | 13 |  | 82
225mm Sq Fan Filter Guard Assembly ABS Louvered | Orion Fan | LFG225 |  | 40 | 29 |  |  | 13 |  | 82
0
Fan 3R rain shroud. Ver correo donde se envio contacto que fabrica material en China a Alba. | china |  |  |  | 58 |  |  | 26 |  | 84
0
0
Air Duct Temperature Sensor, 8 inch probe, 10K Ohm Type II Thermistor, GP housing | Dwyer | TE-DFG-B0844-00 | [6 empty] | 299 | 299 | 7.5
Relay socket | Dwyer | 70-781D5-1A |  | 240 | [5 empty] | 240
24 Vac Relay head | Dwyer | 781XAXRM4L-24A |  | 240 | [5 empty] | 240
0
0
60W Single Output Industrial DIN Rail Power Supply | Mean Well | MDR-60-24 |  | 40 | 29 |  |  | 13 |  | 82
0
0
0
Documents Pocket | Linkwell | WJ-1 |  | 40 | 29 |  | 1 | 13 |  | 83 | 3 | 249 | Tienen MOQ 200
DIN Rail; Steel; Long hole; 2 m | Linkwell | TS 35/7.5 Long hole |  | 160 | 58 |  | 1 | 2 |  | 221 | 4 | 884 | Tienen MOQ 201
0
0
0
40x80 Slotted wiring duct,Grey | Klemsan | KKC 4080 |  | 160 | 116 |  | 2 | 52 |  | 330
0
0
0
0
0
BACnet Fan Coil Unit Controller: 2 Analog 0-10V Outputs, Standard Cover (PIR Ready), Commercial Interface. | Scheneider | SE7300F5045B | [6 empty] | 299 | 299 | 166.66
xPUI4 - 4 Universal Inputs | Scheneider | Xpui4 |  | 7 | [5 empty] | 7
b3920 System Controller | Scheneider | b3920 |  | 40 | [5 empty] | 40
3 positions selector | Scheneider | ZB4BD3 |  | 40 | [5 empty] | 40
LED, 48-120V AC/DC Amarillo | Scheneider | XB4BVG5 |  | 47 | [5 empty] | 47
LED, 48-120V AC/DC Verde | Scheneider | XB4BVG3 |  | 47 |  |  | 1 | 16 |  | 64
LED, 48-120V AC/DC Rojo | Scheneider | XB4BVG4 |  | 47 |  |  | 1 | 16 |  | 64
LED, 48-120V AC/DC Blanco | Scheneider | XB4BVG1 |  | 47 |  |  | 1 | 16 |  | 64
Interruptor de Puerta para Armarios SF y SFX | Scheneider | NSYDCM20 |  | 40 |  |  |  | 13 |  | 53
Lámpara multifijación con toma ULCSA para 120V | Scheneider | NSYLAMCU |  | 40 |  |  | 1 | 13 |  | 54
0
0
Receptacle&#894; 58.5x84x53.5mm; DIN Rail&#894; Screw Clamp&#894; Black&#894; 15A&#894; 125V&#894; IP54 | Altech Corp | DMRBA |  | 40 | 29 |  | 1 | 13 |  | 83
Conn&#894; Term Blk&#894; Fuse&#894; 6.3A(IEC)/12A(cULus); 600V&#894; 72mm L x 9mm W x 50mm H&#894; 12mm | Altech Corp | CAFL4U |  | 1400 | 1020 |  | 100 | 400 |  | 2920
Jumper&#894; TermBlock&#894; 10Pole&#894; 9mm&#894; DINRail&#894; External&#894; 0.8NmTorque | Altech Corp | CA716/10 |  | 200 | 145 |  | 0 | 45 |  | 390
EndPlate&#894; TermBlk&#894; DINRail&#894; Gray&#894; 32mmH, 72mmL, 1.5mmW | Altech Corp | EPCAFL4U |  | 200 | 145 |  | 80 | 45 |  | 470
End Stop&#894; Term Blk&#894; DIN Rail&#894; Gray&#894; 34 mm H, 44 mm L, 9 mm W | Altech Corp | CA702 |  | 200 | 145 |  | 80 | 45 |  | 470
Conn&#894; Term Blk&#894; DIN Rail&#894; Feed Thru&#894; 35mm&#894; 2214 AWG&#894; White&#894; 20 A&#894; 600 V | Altech Corp | CTS2.5U-N/W |  | 1600 | 1160 |  | 200 | 440 |  | 3400
EndPlate&#894; TermBlk&#894; DINRail&#894; Gray&#894; 32mmH, 39mmL, 1.5mmW | Altech Corp | EP2.5/4UN |  | 200 | 145 |  | 80 | 45 |  | 470
Jumper&#894; TermBlk&#894; 10Pole&#894; 5mm&#894; DINRail&#894; Internal&#894; 0.4NmTorq | Altech Corp | CA721/10 |  | 200 | 145 |  | 80 | 45 |  | 470
Conn&#894; Term Blk&#894; DIN Rail&#894; Ground&#894; ScrewCage&#894; 6mm&#894; (35, 32) mm&#894; Green/Yellow | Altech Corp | CGT4U |  | 400 | 290 |  | 80 | 65 |  | 835
Circuit Breaker&#894; Therm/Mag&#894; Togl&#894; CurRtg 10A&#894; DIN Rail&#894; 1 Pole&#894; Screw Snap&#894; C&#894; | Altech Corp | 1CU10L |  | 40 | 29 |  | 71 | 13 |  | 153

## rom 1355
[5 empty] | P.U | PRECIO TOTAL
DESCRIPCION | Marca | Modelo | Rom 1213 | Rom 1355
UL certified Stell wall mount enclosure, NEMA 4, 200mm x 200mm x 150mm (WxHxD). | Tibox | ST2 215 |  |  |  | 0
UL certified, Steel wall mount enclosure, NEMA Type 4, H: 600mm, W:600mm, D: 300mm, Model ST6 630, Tibox | Tibox | ST6 630 |  |  |  | 0
Wall mount bracket, Model: WC 010, Tibox | Tibox | WC 010 |  |  |  | 0
Door Rail cross piece for door, Model: consult with factory, Tibox | Tibox | door rail |  |  |  | 0
Earth wire for enclosure door, Model: TJ-CM6130, Tibox | Tibox | TJ-CM6130 |  |  |  | 0
Metal lock, Model K4, Tibox | Tibox | k4 |  |  |  | 0
UL certified, Steel wall mount enclosure, NEMA Type 4, H: 1200mm, W: 800mm, D: 300mm, Model ST8 1230, Tipox. | Tibox | ST8 1230 |  |  |  | 0
Stell wall mount enclosure, NEMA 4, 400mm x 400mm x 150mm (WxHxD) | Tibox | ST4 415 |  |  |  | 0
0
0
0
0
20VA Transformer | Distech | PW-TR20VA001 |  |  |  | 0
40VA transformer | Distech | PW-TR40VA001 | 40 |  |  | 0
75VA Transformer | Distech | PW-TR75VA001 |  | 29 |  | 0
0
0
Air Throughput 600 cfm Fa | Orion Fan | OA225LFG111T | 40 | 29 | 148.5 | 4306.5
225mm Sq Fan Filter Guard Assembly ABS Louvered | Orion Fan | LFG225 | 40 | 29 | 30.78 | 892.62
0
Fan 3R rain shroud. Ver correo donde se envio contacto que fabrica material en China a Alba. | china |  |  | 58 |  | 0
0
0
Air Duct Temperature Sensor, 8 inch probe, 10K Ohm Type II Thermistor, GP housing | Dwyer | TE-DFG-B0844-00 |  |  |  | 0
Relay socket | Dwyer | 70-781D5-1A | 240 |  |  | 0
24 Vac Relay head | Dwyer | 781XAXRM4L-24A | 240 |  |  | 0
0
0
60W Single Output Industrial DIN Rail Power Supply | Mean Well | MDR-60-24 | 40 | 29 | 16.61 | 481.69
0
0
0
Documents Pocket | Linkwell | WJ-1 | 40 | 29 |  | 0
DIN Rail; Steel; Long hole; 2 m | Linkwell | TS 35/7.5 Long hole | 160 | 58 |  | 0
0
0
0
40x80 Slotted wiring duct,Grey | Klemsan | KKC 4080 | 160 | 116 | 236.46 | 1371.47 | Verificar si esos 116 son rollos o metros (asumo rollo)
0
0
0
0
0
BACnet Fan Coil Unit Controller: 2 Analog 0-10V Outputs, Standard Cover (PIR Ready), Commercial Interface. | Scheneider | SE7300F5045B |  |  |  | 0
xPUI4 - 4 Universal Inputs | Scheneider | Xpui4 | 7 |  |  | 0
b3920 System Controller | Scheneider | b3920 | 40 |  |  | 0
3 positions selector | Scheneider | ZB4BD3 | 40 |  |  | 0
LED, 48-120V AC/DC Amarillo | Scheneider | XB4BVG5 | 47 |  |  | 0
LED, 48-120V AC/DC Verde | Scheneider | XB4BVG3 | 47 |  |  | 0
LED, 48-120V AC/DC Rojo | Scheneider | XB4BVG4 | 47 |  |  | 0
LED, 48-120V AC/DC Blanco | Scheneider | XB4BVG1 | 47 |  |  | 0
Interruptor de Puerta para Armarios SF y SFX | Scheneider | NSYDCM20 | 40 |  |  | 0
Lámpara multifijación con toma ULCSA para 120V | Scheneider | NSYLAMCU | 40 |  |  | 0
0
0
Receptacle&#894; 58.5x84x53.5mm; DIN Rail&#894; Screw Clamp&#894; Black&#894; 15A&#894; 125V&#894; IP54 | Altech Corp | DMRBA | 40 | 29 | 17.38 | 504.02
Conn&#894; Term Blk&#894; Fuse&#894; 6.3A(IEC)/12A(cULus); 600V&#894; 72mm L x 9mm W x 50mm H&#894; 12mm | Altech Corp | CAFL4U | 1400 | 1020 | 2.28 | 2325.6
Jumper&#894; TermBlock&#894; 10Pole&#894; 9mm&#894; DINRail&#894; External&#894; 0.8NmTorque | Altech Corp | CA716/10 | 200 | 145 | 2.13 | 308.85
EndPlate&#894; TermBlk&#894; DINRail&#894; Gray&#894; 32mmH, 72mmL, 1.5mmW | Altech Corp | EPCAFL4U | 200 | 145 | 0.61 | 88.45
End Stop&#894; Term Blk&#894; DIN Rail&#894; Gray&#894; 34 mm H, 44 mm L, 9 mm W | Altech Corp | CA702 | 200 | 145 | 0.55 | 79.75
Conn&#894; Term Blk&#894; DIN Rail&#894; Feed Thru&#894; 35mm&#894; 2214 AWG&#894; White&#894; 20 A&#894; 600 V | Altech Corp | CTS2.5U-N/W | 1600 | 1160 | 0.45 | 522
EndPlate&#894; TermBlk&#894; DINRail&#894; Gray&#894; 32mmH, 39mmL, 1.5mmW | Altech Corp | EP2.5/4UN | 200 | 145 | 0.24 | 34.8
Jumper&#894; TermBlk&#894; 10Pole&#894; 5mm&#894; DINRail&#894; Internal&#894; 0.4NmTorq | Altech Corp | CA721/10 | 200 | 145 | 2.11 | 305.95
Conn&#894; Term Blk&#894; DIN Rail&#894; Ground&#894; ScrewCage&#894; 6mm&#894; (35, 32) mm&#894; Green/Yellow | Altech Corp | CGT4U | 400 | 290 | 2.19 | 635.1
Circuit Breaker&#894; Therm/Mag&#894; Togl&#894; CurRtg 10A&#894; DIN Rail&#894; 1 Pole&#894; Screw Snap&#894; C&#894; | Altech Corp | 1CU10L | 40 | 29 | 21.7 | 629.3
12486.1
13734.71

## rom 1360
|  |  |  | P.U | PRECIO TOTAL
DESCRIPCION | Marca | Modelo | Rom 1360
UL certified Stell wall mount enclosure, NEMA 4, 200mm x 200mm x 150mm (WxHxD). | Tibox | ST2 215 |  |  | 0
UL certified, Steel wall mount enclosure, NEMA Type 4, H: 600mm, W:600mm, D: 300mm, Model ST6 630, Tibox | Tibox | ST6 630 |  |  | 0
Wall mount bracket, Model: WC 010, Tibox | Tibox | WC 010 |  |  | 0
Door Rail cross piece for door, Model: consult with factory, Tibox | Tibox | door rail |  |  | 0
Earth wire for enclosure door, Model: TJ-CM6130, Tibox | Tibox | TJ-CM6130 |  |  | 0
Metal lock, Model K4, Tibox | Tibox | k4 |  |  | 0
UL certified, Steel wall mount enclosure, NEMA Type 4, H: 1200mm, W: 800mm, D: 300mm, Model ST8 1230, Tipox. | Tibox | ST8 1230 |  |  | 0
Stell wall mount enclosure, NEMA 4, 400mm x 400mm x 150mm (WxHxD) | Tibox | ST4 415 |  |  | 0
0
0
0
0
20VA Transformer | Distech | PW-TR20VA001 | 70 |  | 0
40VA transformer | Distech | PW-TR40VA001 |  |  | 0
75VA Transformer | Distech | PW-TR75VA001 | 1 |  | 0
0
0
Air Throughput 600 cfm Fa | Orion Fan | OA225LFG111T |  |  | 0
225mm Sq Fan Filter Guard Assembly ABS Louvered | Orion Fan | LFG225 |  |  | 0
0
Fan 3R rain shroud. Ver correo donde se envio contacto que fabrica material en China a Alba. | china |  |  |  | 0
0
0
Air Duct Temperature Sensor, 8 inch probe, 10K Ohm Type II Thermistor, GP housing | Dwyer | TE-DFG-B0844-00 |  |  | 0
Relay socket | Dwyer | 70-781D5-1A |  |  | 0
24 Vac Relay head | Dwyer | 781XAXRM4L-24A |  |  | 0
0
0
60W Single Output Industrial DIN Rail Power Supply | Mean Well | MDR-60-24 |  |  | 0
0
0
0
Documents Pocket | Linkwell | WJ-1 | 1 |  | 0
DIN Rail; Steel; Long hole; 2 m | Linkwell | TS 35/7.5 Long hole | 1 |  | 0
0
0
0
40x80 Slotted wiring duct,Grey | Klemsan | KKC 4080 | 2 | 236.46 | 472.92
0
0
0
0
0
BACnet Fan Coil Unit Controller: 2 Analog 0-10V Outputs, Standard Cover (PIR Ready), Commercial Interface. | Scheneider | SE7300F5045B |  |  | 0
xPUI4 - 4 Universal Inputs | Scheneider | Xpui4 |  |  | 0
b3920 System Controller | Scheneider | b3920 |  |  | 0
3 positions selector | Scheneider | ZB4BD3 |  |  | 0
LED, 48-120V AC/DC Amarillo | Scheneider | XB4BVG5 |  |  | 0
LED, 48-120V AC/DC Verde | Scheneider | XB4BVG3 | 1 | 19.79 | 19.79
LED, 48-120V AC/DC Rojo | Scheneider | XB4BVG4 | 1 | 19.23 | 19.23
LED, 48-120V AC/DC Blanco | Scheneider | XB4BVG1 | 1 | 17.9 | 17.9
Interruptor de Puerta para Armarios SF y SFX | Scheneider | NSYDCM20 |  |  | 0
Lámpara multifijación con toma ULCSA para 120V | Scheneider | NSYLAMCU | 1 | 31.5 | 31.5
0
0
Receptacle&#894; 58.5x84x53.5mm; DIN Rail&#894; Screw Clamp&#894; Black&#894; 15A&#894; 125V&#894; IP54 | Altech Corp | DMRBA | 1 | 17.38 | 17.38
Conn&#894; Term Blk&#894; Fuse&#894; 6.3A(IEC)/12A(cULus); 600V&#894; 72mm L x 9mm W x 50mm H&#894; 12mm | Altech Corp | CAFL4U | 100 | 2.28 | 228
Jumper&#894; TermBlock&#894; 10Pole&#894; 9mm&#894; DINRail&#894; External&#894; 0.8NmTorque | Altech Corp | CA716/10 | 0 | 2.13 | 0
EndPlate&#894; TermBlk&#894; DINRail&#894; Gray&#894; 32mmH, 72mmL, 1.5mmW | Altech Corp | EPCAFL4U | 80 | 0.61 | 48.8
End Stop&#894; Term Blk&#894; DIN Rail&#894; Gray&#894; 34 mm H, 44 mm L, 9 mm W | Altech Corp | CA702 | 80 | 0.55 | 44
Conn&#894; Term Blk&#894; DIN Rail&#894; Feed Thru&#894; 35mm&#894; 2214 AWG&#894; White&#894; 20 A&#894; 600 V | Altech Corp | CTS2.5U-N/W | 200 | 0.45 | 90
EndPlate&#894; TermBlk&#894; DINRail&#894; Gray&#894; 32mmH, 39mmL, 1.5mmW | Altech Corp | EP2.5/4UN | 80 | 0.24 | 19.2
Jumper&#894; TermBlk&#894; 10Pole&#894; 5mm&#894; DINRail&#894; Internal&#894; 0.4NmTorq | Altech Corp | CA721/10 | 80 | 2.11 | 168.8
Conn&#894; Term Blk&#894; DIN Rail&#894; Ground&#894; ScrewCage&#894; 6mm&#894; (35, 32) mm&#894; Green/Yellow | Altech Corp | CGT4U | 80 | 2.19 | 175.2
Circuit Breaker&#894; Therm/Mag&#894; Togl&#894; CurRtg 10A&#894; DIN Rail&#894; 1 Pole&#894; Screw Snap&#894; C&#894; | Altech Corp | 1CU10L | 71 | 21.7 | 1540.7
2893.42
3182.762

## rom 1361
|  |  |  | P.U | PRECIO TOTAL
DESCRIPCION | Marca | Modelo | Rom 1361
UL certified Stell wall mount enclosure, NEMA 4, 200mm x 200mm x 150mm (WxHxD). | Tibox | ST2 215 |  |  | 0
UL certified, Steel wall mount enclosure, NEMA Type 4, H: 600mm, W:600mm, D: 300mm, Model ST6 630, Tibox | Tibox | ST6 630 |  |  | 0
Wall mount bracket, Model: WC 010, Tibox | Tibox | WC 010 |  |  | 0
Door Rail cross piece for door, Model: consult with factory, Tibox | Tibox | door rail |  |  | 0
Earth wire for enclosure door, Model: TJ-CM6130, Tibox | Tibox | TJ-CM6130 |  |  | 0
Metal lock, Model K4, Tibox | Tibox | k4 |  |  | 0
UL certified, Steel wall mount enclosure, NEMA Type 4, H: 1200mm, W: 800mm, D: 300mm, Model ST8 1230, Tipox. | Tibox | ST8 1230 |  |  | 0
Stell wall mount enclosure, NEMA 4, 400mm x 400mm x 150mm (WxHxD) | Tibox | ST4 415 |  |  | 0
0
0
0
0
20VA Transformer | Distech | PW-TR20VA001 |  |  | 0
40VA transformer | Distech | PW-TR40VA001 |  |  | 0
75VA Transformer | Distech | PW-TR75VA001 | 13 |  | 0
0
0
Air Throughput 600 cfm Fa | Orion Fan | OA225LFG111T | 13 | 148.5 | 1930.5
225mm Sq Fan Filter Guard Assembly ABS Louvered | Orion Fan | LFG225 | 13 | 30.78 | 400.14
0
Fan 3R rain shroud. Ver correo donde se envio contacto que fabrica material en China a Alba. | china |  | 26 |  | 0
0
0
Air Duct Temperature Sensor, 8 inch probe, 10K Ohm Type II Thermistor, GP housing | Dwyer | TE-DFG-B0844-00 |  |  | 0
Relay socket | Dwyer | 70-781D5-1A |  |  | 0
24 Vac Relay head | Dwyer | 781XAXRM4L-24A |  |  | 0
0
0
60W Single Output Industrial DIN Rail Power Supply | Mean Well | MDR-60-24 | 13 | 16.61 | 215.93
0
0
0
Documents Pocket | Linkwell | WJ-1 | 13 |  | 0
DIN Rail; Steel; Long hole; 2 m | Linkwell | TS 35/7.5 Long hole | 2 |  | 0
0
0
0
40x80 Slotted wiring duct,Grey | Klemsan | KKC 4080 | 52 | 11.82 | 614.64 | precio del rollo / 1 caja tiene 20pcs / 236entre 20 = 11.82
0
0
0
0
0
BACnet Fan Coil Unit Controller: 2 Analog 0-10V Outputs, Standard Cover (PIR Ready), Commercial Interface. | Scheneider | SE7300F5045B |  |  | 0
xPUI4 - 4 Universal Inputs | Scheneider | Xpui4 |  |  | 0
b3920 System Controller | Scheneider | b3920 |  |  | 0
3 positions selector | Scheneider | ZB4BD3 |  |  | 0
LED, 48-120V AC/DC Amarillo | Scheneider | XB4BVG5 |  |  | 0
LED, 48-120V AC/DC Verde | Scheneider | XB4BVG3 | 16 | 19.79 | 316.64
LED, 48-120V AC/DC Rojo | Scheneider | XB4BVG4 | 16 | 19.23 | 307.68
LED, 48-120V AC/DC Blanco | Scheneider | XB4BVG1 | 16 | 17.9 | 286.4
Interruptor de Puerta para Armarios SF y SFX | Scheneider | NSYDCM20 | 13 |  | 0
Lámpara multifijación con toma ULCSA para 120V | Scheneider | NSYLAMCU | 13 | 31.5 | 409.5
0
0
Receptacle&#894; 58.5x84x53.5mm; DIN Rail&#894; Screw Clamp&#894; Black&#894; 15A&#894; 125V&#894; IP54 | Altech Corp | DMRBA | 13 | 17.38 | 225.94
Conn&#894; Term Blk&#894; Fuse&#894; 6.3A(IEC)/12A(cULus); 600V&#894; 72mm L x 9mm W x 50mm H&#894; 12mm | Altech Corp | CAFL4U | 400 | 2.28 | 912
Jumper&#894; TermBlock&#894; 10Pole&#894; 9mm&#894; DINRail&#894; External&#894; 0.8NmTorque | Altech Corp | CA716/10 | 45 | 2.13 | 95.85
EndPlate&#894; TermBlk&#894; DINRail&#894; Gray&#894; 32mmH, 72mmL, 1.5mmW | Altech Corp | EPCAFL4U | 45 | 0.61 | 27.45
End Stop&#894; Term Blk&#894; DIN Rail&#894; Gray&#894; 34 mm H, 44 mm L, 9 mm W | Altech Corp | CA702 | 45 | 0.55 | 24.75
Conn&#894; Term Blk&#894; DIN Rail&#894; Feed Thru&#894; 35mm&#894; 2214 AWG&#894; White&#894; 20 A&#894; 600 V | Altech Corp | CTS2.5U-N/W | 440 | 0.45 | 198
EndPlate&#894; TermBlk&#894; DINRail&#894; Gray&#894; 32mmH, 39mmL, 1.5mmW | Altech Corp | EP2.5/4UN | 45 | 0.24 | 10.8
Jumper&#894; TermBlk&#894; 10Pole&#894; 5mm&#894; DINRail&#894; Internal&#894; 0.4NmTorq | Altech Corp | CA721/10 | 45 | 2.11 | 94.95
Conn&#894; Term Blk&#894; DIN Rail&#894; Ground&#894; ScrewCage&#894; 6mm&#894; (35, 32) mm&#894; Green/Yellow | Altech Corp | CGT4U | 65 | 2.19 | 142.35
Circuit Breaker&#894; Therm/Mag&#894; Togl&#894; CurRtg 10A&#894; DIN Rail&#894; 1 Pole&#894; Screw Snap&#894; C&#894; | Altech Corp | 1CU10L | 13 | 21.7 | 282.1
6495.62
7145.182

## rom 1390
|  |  |  | P.U | PRECIO TOTAL
DESCRIPCION | Marca | Modelo | Rom 1390
UL certified Stell wall mount enclosure, NEMA 4, 200mm x 200mm x 150mm (WxHxD). | Tibox | ST2 215 | 299
UL certified, Steel wall mount enclosure, NEMA Type 4, H: 600mm, W:600mm, D: 300mm, Model ST6 630, Tibox | Tibox | ST6 630
Wall mount bracket, Model: WC 010, Tibox | Tibox | WC 010
Door Rail cross piece for door, Model: consult with factory, Tibox | Tibox | door rail
Earth wire for enclosure door, Model: TJ-CM6130, Tibox | Tibox | TJ-CM6130
Metal lock, Model K4, Tibox | Tibox | k4
UL certified, Steel wall mount enclosure, NEMA Type 4, H: 1200mm, W: 800mm, D: 300mm, Model ST8 1230, Tipox. | Tibox | ST8 1230
Stell wall mount enclosure, NEMA 4, 400mm x 400mm x 150mm (WxHxD) | Tibox | ST4 415
20VA Transformer | Distech | PW-TR20VA001 | 299
40VA transformer | Distech | PW-TR40VA001
75VA Transformer | Distech | PW-TR75VA001
Air Throughput 600 cfm Fa | Orion Fan | OA225LFG111T
225mm Sq Fan Filter Guard Assembly ABS Louvered | Orion Fan | LFG225
Fan 3R rain shroud. Ver correo donde se envio contacto que fabrica material en China a Alba. | china
Air Duct Temperature Sensor, 8 inch probe, 10K Ohm Type II Thermistor, GP housing | Dwyer | TE-DFG-B0844-00 | 299
Relay socket | Dwyer | 70-781D5-1A
24 Vac Relay head | Dwyer | 781XAXRM4L-24A
60W Single Output Industrial DIN Rail Power Supply | Mean Well | MDR-60-24
Documents Pocket | Linkwell | WJ-1
DIN Rail; Steel; Long hole; 2 m | Linkwell | TS 35/7.5 Long hole
40x80 Slotted wiring duct,Grey | Klemsan | KKC 4080
BACnet Fan Coil Unit Controller: 2 Analog 0-10V Outputs, Standard Cover (PIR Ready), Commercial Interface. | Scheneider | SE7300F5045B | 299
xPUI4 - 4 Universal Inputs | Scheneider | Xpui4
b3920 System Controller | Scheneider | b3920
3 positions selector | Scheneider | ZB4BD3
LED, 48-120V AC/DC Amarillo | Scheneider | XB4BVG5
LED, 48-120V AC/DC Verde | Scheneider | XB4BVG3
LED, 48-120V AC/DC Rojo | Scheneider | XB4BVG4
LED, 48-120V AC/DC Blanco | Scheneider | XB4BVG1
Interruptor de Puerta para Armarios SF y SFX | Scheneider | NSYDCM20
Lámpara multifijación con toma ULCSA para 120V | Scheneider | NSYLAMCU
Receptacle&#894; 58.5x84x53.5mm; DIN Rail&#894; Screw Clamp&#894; Black&#894; 15A&#894; 125V&#894; IP54 | Altech Corp | DMRBA
Conn&#894; Term Blk&#894; Fuse&#894; 6.3A(IEC)/12A(cULus); 600V&#894; 72mm L x 9mm W x 50mm H&#894; 12mm | Altech Corp | CAFL4U
Jumper&#894; TermBlock&#894; 10Pole&#894; 9mm&#894; DINRail&#894; External&#894; 0.8NmTorque | Altech Corp | CA716/10
EndPlate&#894; TermBlk&#894; DINRail&#894; Gray&#894; 32mmH, 72mmL, 1.5mmW | Altech Corp | EPCAFL4U
End Stop&#894; Term Blk&#894; DIN Rail&#894; Gray&#894; 34 mm H, 44 mm L, 9 mm W | Altech Corp | CA702
Conn&#894; Term Blk&#894; DIN Rail&#894; Feed Thru&#894; 35mm&#894; 2214 AWG&#894; White&#894; 20 A&#894; 600 V | Altech Corp | CTS2.5U-N/W
EndPlate&#894; TermBlk&#894; DINRail&#894; Gray&#894; 32mmH, 39mmL, 1.5mmW | Altech Corp | EP2.5/4UN
Jumper&#894; TermBlk&#894; 10Pole&#894; 5mm&#894; DINRail&#894; Internal&#894; 0.4NmTorq | Altech Corp | CA721/10
Conn&#894; Term Blk&#894; DIN Rail&#894; Ground&#894; ScrewCage&#894; 6mm&#894; (35, 32) mm&#894; Green/Yellow | Altech Corp | CGT4U
Circuit Breaker&#894; Therm/Mag&#894; Togl&#894; CurRtg 10A&#894; DIN Rail&#894; 1 Pole&#894; Screw Snap&#894; C&#894; | Altech Corp | 1CU10L