## Materiales Fase 2
Tipo | Items | Link | Fotografia | Und. | Cant. | Precio Unitario ($) | Precio Total | Precio Unitario ($) | Precio Total | Precio Unitario ($) | Precio Total
Valvuleria | Válvulas Mariposa clase 150 8'' tipo LUG (Ductile Iron) | https://www.zoro.com/milwaukee-valve-butterfly-valve-lug-style-size-8-in-hl-232b-8/i/G1168982/ |  | Un | 3 | 486.2 | 1458.6 |  | 0 |  | 0
Valvuleria | Válvula de 3 vias 8" Motorizada | https://www.belimo.us/shop/en_US/config?code=F7200-150SHP%2BSY4-110&siteName=Belimo+US+Official+Site |  | Un | 2 | 14888 | 29776 |  | 0 |  | 0
Valvuleria | Filtro Y 8'' con Brida | https://www.zoro.com/keckley-y-strainer-304-ss-8-flanged-fiber-81ffy-ci125p34-fbi-a7/i/G2156869/ |  | Un | 2 | 903 | 1806 | 446.51 | 893.02 |  | 0
Valvuleria | Válvula Ventosa Automatica de 3/8" | https://www.zoro.com/bell-gossett-automatic-air-vent-brass-18-mnpt-67/i/G2508317/ |  | Un | 2 | 25.25 | 50.5 |  | 0 |  | 0
Valvuleria | Empacadura 6'' | https://www.zoro.com/value-brand-gasket-full-face-6-in-neoprene-black-9071ff-0150-125-0600/i/G1944397/ |  | Un | 4 | 3.73 | 14.92 |  | 0 |  | 0
Valvuleria | Empacadura 8'' | https://www.zoro.com/value-brand-gasket-full-face-8-in-neoprene-black-9071ff-0150-125-0800/i/G3195446/ |  | Un | 22 | 5.89 | 129.58 |  | 0 |  | 0
Valvuleria | Manómetro (con Sifon1/4 y válvula de bola 1/4) | https://www.zoro.com/ashcroft-pressure-gauge-0-to-300-psi-3-12in-35w1005ph02lxulzg300-8382/i/G0418135/ |  | Un | 4 | 46.82 | 187.28 | 57.67 | 230.68 | 50.39 | 201.56
Valvuleria | Termometro de 9" doble escala | https://www.zoro.com/value-brand-industrial-thermometer-30-to-240-f-4lzp1/i/G0937255/ |  | Un | 4 | 40.99 | 163.96 | 64.89 | 259.56 | 91 | 364
Valvuleria | Válvula Circuit Setter (Válvula de Balanceo) bridada 6" | http://armstrongfluidtechnology.com/en/products/circuit-balancing-valves-2-inch-to-12-inch |  | Un | 2 |  | 0 |  | 0 |  | 0
Valvuleria | Junta Flexible 8" Bridada | https://www.grainger.com/product/GRAINGER-APPROVED-8-Pipe-Size-Single-Sphere-1CZD8?breadcrumbCatId=1000250 |  | Un | 4 | 297.5 | 1190 | 107.085 | 428.34 |  | 0
Valvuleria | Junta Victaulic 10" | https://www.grainger.com/product/GRUVLOK-Standard-Couplings-WP131524/_/N-que?searchRedirect=victaulic&breadcrumbCatId=19209&s_pp=false&picUrl=//static.grainger.com/rp/s/is/image/Grainger/2XET1_AS01?$smthumb$webparentimage$ |  | Un | 4 | 23.45 | 93.8 | 160.809 | 643.236 |  | 0
Valvuleria | Reducción Ranurada de 10" x 8" | https://www.grainger.com/product/GRUVLOK-Concentric-Reducers-WP131518/_/N-que?searchRedirect=victaulic&breadcrumbCatId=19209&s_pp=false&picUrl=//static.grainger.com/rp/s/is/image/Grainger/2XFA6_AS01?$smthumb$webparentimage$ |  | Un | 4 | 30.5 | 122 | 385.575 | 1542.3 |  | 0
Valvuleria | Adaptador Ranurada-Flage 8" | https://www.grainger.com/product/GRUVLOK-Flanges-WP131521/_/N-que?searchRedirect=victaulic&breadcrumbCatId=19209&s_pp=false&picUrl=//static.grainger.com/rp/s/is/image/Grainger/2XEU4_AS01?$smthumb$webparentimage$ |  | Un | 4 | 84.75 | 339 | 197.23 | 788.92 |  | 0
[6 empty] | Total Dólar | 35331.64 | Total Dólar | 4786.056 | Total Dólar | 565.56
Tipo | Items | Link | Fotografia | Und. | Cant. | Precio Unitario ($) | Precio Total | Precio Unitario ($) | Precio Total | Precio Unitario ($) | Precio Total
PVC | Tubería PVC SCH80 8" | https://www.pvcfittingsonline.com/8008-080ab-8-schedule-80-pvc-pipe-5ft.html |  | ml | 60 | 72.32 | 4339.2 |  | 0 |  | 0
PVC | Tubería PVC SCH80 6" | https://www.pvcfittingsonline.com/8008-060ab-6-schedule-80-pvc-pipe-5-ft-section.html |  | ml | 3 | 47.21 | 141.63 |  | 0 |  | 0
PVC | Codos 90° PVC SCH80 8'' | https://www.pvcfittingsonline.com/806-080-8-schedule-80-pvc-ell-slip-x-slip.html |  | Un | 18 | 69.61 | 1252.98 | 69.86 | 1257.48 |  | 0
PVC | TEE PVC SCH80 8'' | https://www.pvcfittingsonline.com/801-080-8-schedule-80-pvc-tee-slip-x-slip-x-slip.html |  | Un | 4 | 98.88 | 395.52 | 158.88 | 635.52 | 99.47 | 397.88
PVC | Reducción PVC SCH80 8'' x 6" | https://www.pvcfittingsonline.com/829-585-8-x-6-schedule-80-pvc-reducing-coupling.html |  | Un | 4 | 142.38 | 569.52 |  | 0 |  | 0
PVC | Van Stone Slip Flange PVC SCH80 8" | https://www.pvcfittingsonline.com/854-080-8-schedule-80-pvc-van-stone-flanges.html |  | Un | 22 | 31.52 | 693.44 |  | 0 |  | 0
PVC | Van Stone Flange PVC SCH80 6" | https://www.pvcfittingsonline.com/854-060-6-schedule-80-pvc-van-stone-flanges.html |  | Un | 4 | 19.39 | 77.56 |  | 0 |  | 0
PVC | Injerto PVC SCH80 8" x 1/2" | http://www.riuvert.es/en/product/1532/graft-clip |  | Un | 4 |  | 0 |  | 0 |  | 0
PVC | Injerto PVC SCH80 8" x 1/4" |  |  | Un | 4 |  | 0 |  | 0 |  | 0
PVC | Anillo liso PVC SCH80 1/2" | https://www.pvcfittingsonline.com/829-005-1-2-schedule-80-pvc-couplings-slip-x-slip.html |  | Un | 4 | 1.15 | 4.6 |  | 0 |  | 0
PVC | Anillo NPT PVC SCH80 1/4" | https://www.pvcfittingsonline.com/830-002-1-4-schedule-80-pvc-coupling.html |  | Un | 4 | 1.37 | 5.48 |  | 0 |  | 0
PVC | Anillo liso PVC SCH80 8" | https://www.pvcfittingsonline.com/829-080-8-schedule-80-pvc-couplings-slip-x-slip.html |  | Un | 8 | 28.73 | 229.84 |  | 0 |  | 0
PVC | Pegamento PVC | https://www.pvcfittingsonline.com/oatey-heavy-duty-gray-cement-8oz-31094.html |  | Gal | 6 | 10.97 | 65.82 | 18.2 | 109.2 |  | 0
PVC | Limpiador PVC | https://www.pvcfittingsonline.com/oatey-nsf-purple-pvc-cpvc-primer-1-2-pint.html |  | Gal | 3 | 5.32 | 15.96 | 8.73 | 26.19 |  | 0
PVC | Sellante liquido para PVC | https://www.pvcfittingsonline.com/christy-s-ultra-seal-pipe-thread-sealant-1-4-pint.html |  | Gal | 1 | 6.35 | 6.35 |  | 0 |  | 0
[6 empty] | Total Dólar | 7797.9 | Total Dólar | 2028.39 | Total Dólar | 397.88
Tipo | Items | Link | Fotografia | Und. | Cant. | Precio Unitario ($) | Precio Total | Precio Unitario ($) | Precio Total | Precio Unitario ($) | Precio Total
Electrcidiad | Tuberia flexible liquid thigt 4'' | https://www.platt.com/platt-electric-supply/Flexible-Conduit-Liquidtight-Metallic/Multiple/6210-30-00/product.aspx?zpid=399523 |  | ml | 10 | 17.58 | 175.8 |  | 0 |  | 0
Electrcidiad | Conectores rectos LQ 4'' | https://www.platt.com/platt-electric-supply/Liquidtight-Flex-Die-Cast-Straight-Connector/Arlington/LT400/product.aspx?zpid=332179 |  | Un | 2 | 177.31 | 354.62 |  | 0 |  | 0
Electrcidiad | Teipe Negro | https://www.zoro.com/power-first-elctricl-tape-7-mil-34x60-ft-blk-pk10-19n747/i/G4530355/ |  | Un | 5 | 12.56 | 62.8
Electrcidiad | Teipe de Goma | https://www.zoro.com/scotch-splicing-tape-30-mil-34-x-30-ft-black-130c-34x30ft/i/G3202805/ |  | Un | 3 | 13.32 | 39.96
Electrcidiad | Cable de cobre, Trenzado,Monopolar, THHN o THWN-2, TC90°C, CALIBRE 1/0 AWG | https://www.platt.com/platt-electric-supply/THHN-Stranded-1-0-AWG/Multiple/1ATHHNCSTRBLAX1000/product.aspx?zpid=70171 |  | Ml | 1050 | 2.28 | 2394 |  | 0 |  | 0
Electrcidiad | Cable de cobre, Trenzado,Monopolar, THHN o THWN-2, TC90°C, CALIBRE 2/0 AWG | https://www.platt.com/platt-electric-supply/THHN-Stranded-2-0-AWG/Multiple/2ATHHNCSTRX1000/product.aspx?zpid=70180 |  | Ml | 45 | 2.85 | 128.25 |  |  |  | 0
Electrcidiad | Interruptor Termomagnetico (BREAKER) con tornillos , 3 polo, 65 KA ICC, 480V, CAP. 800A (TIPO MJ SCHNEIDER) con conexión para 3 cable 2/0 por linea (Accesorio CU800M23K) | https://www.schneider-electric.us/en/product/MJA36800/molded-case-circuit-breaker-600v-800a/?range=1853-powerpact-m-frame-molded-case-circuit-breakers&node=6081008282-i-line-mccb |  | Un | 1 | 12630 | 12630 |  | 0 |  | 0
Electrcidiad | Interruptor Termomagnetico (BREAKER) con tornillos , 3 polo, 65 KA ICC, 480V, CAP. 1000A (TIPO MJ SCHNEIDER) con conexión para 3 cable 2/0 por linea (Accesorio CU800M23K) |  |  | Un | 1 | 12630 | 12630 |  | 0 |  | 0
[6 empty] | Total Dólar | 12630 | Total Dólar | 0 | Total Dólar | 0
Tipo | Items | Link | Fotografia | Und. | Cant. | Precio Unitario ($) | Precio Total | Precio Unitario ($) | Precio Total | Precio Unitario ($) | Precio Total
Ferreteria | Hoja de Segueta | https://www.zoro.com/lenox-hack-saw-blade-bi-metal-12x12-in-32-tpi-s232he/i/G4538721/ |  | Un | 4 | 2.71 | 10.84
Ferreteria | Disco Extra fino 4 1/2" | https://www.zoro.com/dewalt-cutoff-wheel-a60t-4-12x045x78-dw8062/i/G3464501/ |  | Un | 10 | 1.61 | 16.1 |  | 0 |  | 0
Ferreteria | Disco para metal 4 1/2" | https://www.zoro.com/metabo-cutoff-whl-combinator-4-12inx78x78in-616500420/i/G7561732/ |  | Un | 4 | 4.82 | 19.28 |  | 0 |  | 0
Ferreteria | Brocha 1/2" | https://www.zoro.com/wooster-paint-brush-angle-sash-2-q3208-2/i/G0467251/ |  | Un | 2 | 3.33 | 6.66 |  | 0 |  | 0
Ferreteria | Riel Strut perforado 1 5/8" (piezas de 2 metros) | https://www.platt.com/platt-electric-supply/Channel-w-Holes-Elongated-Steel/Power-Strut/PS-200-EH-10-PG/product.aspx?zpid=157435 |  | Un | 30 | 3.18 | 95.4 |  | 0 |  | 0
Ferreteria | Angulos perforados 1/2" | https://www.zoro.com/value-brand-channel-angle-plate-silver-v325eg/i/G0475413/ |  | Un | 150 | 3.32 | 498 |  | 0 |  | 0
Ferreteria | Abrazadera Morocha 8" | https://www.grainger.com/product/GRAINGER-APPROVED-Steel-Channel-Rigid-Pipe-Strap-5YB96?breadcrumbCatId=12783&functionCode=P2IDP2PCP |  | Un | 30 | 5.075 | 152.25 |  | 0 |  | 0
Ferreteria | Abrazadera Morocha 6" |  |  | Un | 6 | 5.075 | 30.45 |  | 0 |  | 0
Ferreteria | Tirrap 11" (paquete de 100) | https://www.zoro.com/ty-rapr-cable-tie-114-in-natural-pk100-ty5253m/i/G0650422/ |  | Paquete | 3 | 22.64 | 67.92 |  | 0 |  | 0
Ferreteria | Cinta para marcar de 8" | https://www.zoro.com/3m-cubitron-ii-cloth-belt-8-in-x-132-in-36-yf-27513/i/G7550986/ |  | Paquete | 3 | 127.62 | 382.86 |  | 0 |  | 0
Ferreteria | Tornillos 1/2" G5 | https://www.grainger.com/product/FABORY-Grade-5-Tap-Bolt-1-2-13-41UE21 |  | Un | 300 | 0.77 | 231 |  | 0 |  | 0
Ferreteria | Tuercas 1/2" G5 | https://www.zoro.com/fabory-hex-nut-12-13-gr-5-zp-pk50-u013000500001/i/G0717805/ |  | Un | 300 | 6.47 | 1941 |  | 0 |  | 0
Ferreteria | Arandelas 1/2" G5 | https://www.grainger.com/product/GRAINGER-APPROVED-1-2-x1-3-8-O-D-4RVU2?breadcrumbCatId=3562&functionCode=P2IDP2PCP |  | Un | 300 | 0.51 | 153 |  | 0 |  | 0
Ferreteria | Tuercas 3/4'' G5 | https://www.zoro.com/fabory-hex-nut-34-10-gr-5-zp-pk20-u013000750001/i/G4269212/ |  | Un | 192 | 6.24 | 1198.08 |  | 0 |  | 0
Ferreteria | Pernos 3/4'' x 3 1/4" G5 | https://www.zoro.com/value-brand-hhcs-34-10x3-12-steel-gr-5-plain-pk5-n010000750350/i/G0343476/ |  | Un | 192 | 13.99 | 2686.08 |  | 0 |  | 0
Ferreteria | Pernos 3/4'' x 2" G5 | https://www.zoro.com/fabory-hhcs-34-10x2-steel-gr-5-zp-pk5-u012000750200/i/G5320743/ |  | Un | 56 | 4.93 | 276.08 |  | 0 |  | 0
[6 empty] | Total Dólar | 20395 | Total Dólar | 0 | Total Dólar | 0
HERRAMIENTAS
Tipo | Items | Link | Fotografia | Und. | Cant. | Precio Unitario ($) | Precio Total | Precio Unitario ($) | Precio Total | Precio Unitario ($) | Precio Total
Herramienta | llaves combinada de 1 1/8" | https://www.zoro.com/proto-combination-wrench-sae-1-18in-size-j1236asd/i/G1465825/ |  | Un | 1 | 39 | 39 |  | 0 |  | 0
Herramienta | Set de llave ajustable 8-10-12" | https://www.zoro.com/proto-adj-wrench-set-8-10-12-chrome-3-pc-j795/i/G2001517/ |  | Un | 1 | 59.56 | 59.56 |  | 0 |  | 0
Herramienta | Juego de Ratchet hasta 1 1/2" | https://www.zoro.com/westward-socket-wrench-set-12-in-dr-26-pc-4pm03/i/G1596253/ |  | Un | 1 | 89.41 | 89.41 |  | 0 |  | 0
Herramienta | Juego de Destornillador electricista | https://www.zoro.com/stanley-screwdriver-set-slottedphillips-20-pc-60-220/i/G9088213/ |  | Un | 1 | 15 | 15 |  | 0 |  | 0
Herramienta | Nivel con Iman | https://www.zoro.com/stanley-magnetic-torpedo-level-9-in-groove-43-511/i/G9088222/ |  | Un | 1 | 6.75 | 6.75 |  | 0 |  | 0
Herramienta | Pinza pelacable de calibre 14-2/0 | https://www.grainger.com/product/BURNDY-25-3-8-L-Crimper-22P123 |  | Un | 1 | 435.5 | 435.5 |  | 0 |  | 0
Herramienta | Cinta metrica 5 metros | https://www.zoro.com/stanley-tape-measure-1-14-inx25-ft-yellowblack-33-725/i/G1202564/ |  | Un | 1 | 19.43 | 19.43 |  | 0 |  | 0
Herramienta | Taladro 11" | https://www.grainger.com/product/BOSCH-Hammer-Drill-Kit-2LDB1 |  | Un | 1 | 95.5 | 95.5 |  | 0 |  | 0
Herramienta | Cierra copa de 4" | https://www.zoro.com/milwaukee-hole-dozer-hole-saw-bi-metal-dia-4-in-49-56-9645/i/G4073072/ |  | Un | 1 | 20.37 | 20.37 |  | 0 |  | 0
Herramienta | Multi-Use Strap Wrenche 8" | https://www.zoro.com/klein-tools-strap-wrench-8-in-dia-cap-18-in-handle-s-18h/i/G1790196/?q=strap+wrench |  | Un | 1 | 76.91 | 76.91 |  | 0 |  | 0
[6 empty] | Total Dólar | 21252.43 | Total Dólar | 0 | Total Dólar | 0
Implementos de Seguridad
Tipo | Items | Link | Fotografia | Und. | Cant. | Precio Unitario ($) | Precio Total | Precio Unitario ($) | Precio Total | Precio Unitario ($) | Precio Total
Seguridad | Lentes transparentes | https://www.zoro.com/3m-safety-glasses-clear-uncoated-11228-00000-100/i/G1030836/ |  | Un | 5 | 1.13 | 5.65 |  | 0 |  | 0
Seguridad | Lentes Oscuros | https://www.zoro.com/3m-safety-glasses-gray-11327-00000-20/i/G1140867/ |  | Un | 5 | 1.57 | 7.85 |  | 0 |  | 0
Seguridad | Careta para Esmerilar | https://www.zoro.com/3m-faceshield-assembly-clear-polycarbonate-82783-00000/i/G3201274/ |  | Un | 1 | 22.86 | 22.86 |  | 0 |  | 0
Seguridad | Botas de seguridad |  |  | Un | 4 |  | 0 |  | 0 |  | 0
Seguridad | Cascos | https://www.zoro.com/msa-hard-hat-c-e-blue-4-pt-pinlock-463943/i/G0004331/ |  | Un | 4 | 6.43 | 25.72 |  | 0 |  | 0
Seguridad | Guantes de seguridad | https://www.zoro.com/mcr-safety-coated-gloves-l-9-pr-9669l/i/G5157485/ |  | Un | 10 | 1.39 | 13.9 |  | 0 |  | 0
Seguridad | Chalecos | https://www.zoro.com/radians-high-visibility-vest-xl-slvr-28in-zppr-sv2zgmxl/i/G9054132/ |  | Un | 4 | 6.69 | 26.76 |  | 0 |  | 0
[6 empty] | Total Dólar | 22212.6 | Total Dólar | 0 | Total Dólar | 0
Note on I10: Msuarez: saeg
Note on G14: Msuarez: https://www.zoro.com/value-brand-brass-ball-valve-inline-fnpt-1-14-in-6gd17/i/G1636555/ https://www.zoro.com/ashcroft-pressure-gauge-0-to-300-psi-3-12in-35w1005ph02lxulzg300-8382/i/G0418135/ https://www.zoro.com/value-brand-siphon-250-psi-14-in-natured-brass-5tul0/i/G1837543/
Note on I14: Msuarez: amazon https://www.amazon.com/Nigo-Forged-Certified-Handle-Standard/dp/B074373TH6/ref=sr_1_2_sspa?ie=UTF8&qid=1513011567&sr=8-2-spons&keywords=valve+ball+1%2F4&psc=1 https://www.amazon.com/Pressure-Gauge-300-psi-3-1/dp/B000LE9LN2/ref=sr_1_2?s=industrial&ie=UTF8&qid=1513011609&sr=1-2&keywords=ashcroft-pressure-gauge-0-to-300 https://www.amazon.com/Dixon-401-01-Degree-Siphon-ASTMB-43/dp/B00LT0PG5Y/ref=sr_1_2?s=industrial&ie=UTF8&qid=1513011691&sr=1-2&keywords=siphon+1%2F4
Note on K14: Msuarez: https://www.homedepot.com/p/Everbilt-100-PSI-Pressure-Gauge-with-1-4-in-Lower-Connection-EBM1002-4L/205617969 https://www.homedepot.com/p/Everbilt-1-4-in-Lead-Free-Brass-Threaded-FPT-x-FPT-Ball-Valve-116-2-14-EB/205817885 https://www.homedepot.com/p/Woodford-Manufacturing-Company-1-2-in-x-3-4-in-Brass-Sweat-x-MPT-x-6-in-L-Freeze-Resistant-Anti-Siphon-Sillcock-17CP-6-MH/202527083
Note on I15: Msuarez: https://www.homedepot.com/p/Palmer-Instruments-9-in-Scale-Plastic-Industrial-Thermometer-30-to-240-Degree-F-9FLSB3-530-240F/205801119
Note on K15: Msuarez: https://www.amazon.com/Industrial-Thermometer-30-240-F/dp/B007IBWVXI/ref=sr_1_2?s=industrial&ie=UTF8&qid=1513013249&sr=1-2&keywords=industrial+thermometer+30+to+240
Note on I28: Msuarez: https://www.amazon.com/Spears-Fitting-Degree-Schedule-Socket/dp/B001O5SSLI/ref=sr_1_fkmr0_2?s=industrial&ie=UTF8&qid=1513016401&sr=1-2-fkmr0&keywords=elbow%2B90%2B%C2%B0%2Bpvc%2Bsch%2B80%2B8%27%27&th=1
Note on J29: Msuarez: https://www.amazon.com/dp/B008HOVJ3I/ref=twister_B00ALMJ2UG?_encoding=UTF8&psc=1
Note on K29: Msuarez: https://www.homedepot.com/p/DURA-8-in-x-8-in-x-2-in-Schedule-40-PVC-Reducing-Tee-SxSxS-401-578/203239883
Note on I38: Msuarez: pvc pipe
Note on I39: Msuarez: pvc pipe

## VALVULAS Y JUNTAS
Tipo | Items | Link | Fotografia | Und. | Cant. | Precio Unitario ($) | Precio Total | Proveedor | Precio Unitario ($) | Precio Total | Proveedor | Precio Unitario ($) | Precio Total | PROVEEDOR | Precio Unitario ($) | Precio Total | PROVEEDOR
Valvuleria | Válvulas Mariposa clase 150 8'' tipo LUG (Ductile Iron) | https://www.zoro.com/milwaukee-valve-butterfly-valve-lug-style-size-8-in-hl-232b-8/i/G1168982/ |  | Un | 3 | 486.2 | 1458.6 | https://www.zoro.com/milwaukee-valve-butterfly-valve-lug-style-size-8-in-hl-232b-8/i/G1168982/ | 323 | 969 | Protec Inc | 364.45 | 1093.35 | BELIMO | 326.12 | 978.36 | NESI
Valvuleria | Válvula de 3 vias 8" Motorizada | https://www.belimo.us/shop/en_US/config?code=F7200-150SHP%2BSY4-110&siteName=Belimo+US+Official+Site |  | Un | 2 | 14888 | 29776 | https://www.belimo.us/shop/en_US/config?code=F7200-150SHP%2BSY4-110&siteName=Belimo+US+Official+Site | 2230 | 4460 | Protec Inc | 2349.91 | 4699.82 | BELIMO | 5805.69 | 11611.38 | NESI
Valvuleria | Filtro Y 8'' con Brida | https://www.zoro.com/keckley-y-strainer-304-ss-8-flanged-fiber-81ffy-ci125p34-fbi-a7/i/G2156869/ |  | Un | 2 | 903 | 1806 | https://www.zoro.com/keckley-y-strainer-304-ss-8-flanged-fiber-81ffy-ci125p34-fbi-a7/i/G2156869/ | 446.51 | 893.02 | SAEG | 615 | 1230 | PROTEC INC | 492.47 | 984.94 | NESI
Valvuleria | Válvula Ventosa Automatica de 3/8" | https://www.zoro.com/bell-gossett-automatic-air-vent-brass-18-mnpt-67/i/G2508317/ |  | Un | 2 | 25.25 | 50.5 | https://www.zoro.com/bell-gossett-automatic-air-vent-brass-18-mnpt-67/i/G2508317/ | 11 | 22 | PROTEC INC |  | 0 |  | 118.13 | 236.26 | NESI
Valvuleria | Empacadura 6'' | https://www.zoro.com/value-brand-gasket-full-face-6-in-neoprene-black-9071ff-0150-125-0600/i/G1944397/ |  | Un | 4 | 3.73 | 14.92 | https://www.zoro.com/value-brand-gasket-full-face-6-in-neoprene-black-9071ff-0150-125-0600/i/G1944397/ | 3.51 | 14.04 | PROTEC INC |  | 0 |  | 2.05 | 8.2 | NESI
Valvuleria | Empacadura 8'' | https://www.zoro.com/value-brand-gasket-full-face-8-in-neoprene-black-9071ff-0150-125-0800/i/G3195446/ |  | Un | 22 | 5.89 | 129.58 | https://www.zoro.com/value-brand-gasket-full-face-8-in-neoprene-black-9071ff-0150-125-0800/i/G3195446/ | 4.81 | 105.82 | PROTEC INC |  | 0 |  | 3.16 | 69.52 | NESI
Valvuleria | Manómetro (con Sifon1/4 y válvula de bola 1/4) | https://www.zoro.com/ashcroft-pressure-gauge-0-to-300-psi-3-12in-35w1005ph02lxulzg300-8382/i/G0418135/ |  | Un | 4 | 46.82 | 187.28 | https://www.zoro.com/ashcroft-pressure-gauge-0-to-300-psi-3-12in-35w1005ph02lxulzg300-8382/i/G0418135/ | 22 | 88 | PROTEC INC | 50.39 | 201.56 | https://www.homedepot.com/p/Everbilt-100-PSI-Pressure-Gauge-with-1-4-in-Lower-Connection-EBM1002-4L/205617969 https://www.homedepot.com/p/Everbilt-1-4-in-Lead-Free-Brass-Threaded-FPT-x-FPT-Ball-Valve-116-2-14-EB/205817885 https://www.homedepot.com/p/Woodford-Manufacturing-Company-1-2-in-x-3-4-in-Brass-Sweat-x-MPT-x-6-in-L-Freeze-Resistant-Anti-Siphon-Sillcock-17CP-6-MH/202527083 | 19.18 | 76.72 | NESI
Valvuleria | Termometro de 9" doble escala | https://www.zoro.com/value-brand-industrial-thermometer-30-to-240-f-4lzp1/i/G0937255/ |  | Un | 4 | 40.99 | 163.96 | https://www.zoro.com/value-brand-industrial-thermometer-30-to-240-f-4lzp1/i/G0937255/ | 41 | 164 | PROTEC INC | 91 | 364 | https://www.amazon.com/Industrial-Thermometer-30-240-F/dp/B007IBWVXI/ref=sr_1_2?s=industrial&ie=UTF8&qid=1513013249&sr=1-2&keywords=industrial+thermometer+30+to+240 | 31.67 | 126.68 | NESI
Valvuleria | Válvula Circuit Setter (Válvula de Balanceo) bridada 6" | http://armstrongfluidtechnology.com/en/products/circuit-balancing-valves-2-inch-to-12-inch |  | Un | 2 |  |  |  | 1345 | 0 | PROTEC INC |  | 0 |  |  | 0
Valvuleria | Junta Flexible 8" Bridada | https://www.grainger.com/product/GRAINGER-APPROVED-8-Pipe-Size-Single-Sphere-1CZD8?breadcrumbCatId=1000250 |  | Un | 4 | 297.5 | 1190 | https://www.grainger.com/product/GRAINGER-APPROVED-8-Pipe-Size-Single-Sphere-1CZD8?breadcrumbCatId=1000250 | 107.085 | 428.34 | ANVIL INTERNATIONAL | 174 | 696 | PROTEC INC |  | 0
Valvuleria | Junta Victaulic 10" | https://www.grainger.com/product/GRUVLOK-Standard-Couplings-WP131524/_/N-que?searchRedirect=victaulic&breadcrumbCatId=19209&s_pp=false&picUrl=//static.grainger.com/rp/s/is/image/Grainger/2XET1_AS01?$smthumb$webparentimage$ |  | Un | 4 | 23.45 | 93.8 | https://www.grainger.com/product/GRUVLOK-Standard-Couplings-WP131524/_/N-que?searchRedirect=victaulic&breadcrumbCatId=19209&s_pp=false&picUrl=//static.grainger.com/rp/s/is/image/Grainger/2XET1_AS01?$smthumb$webparentimage$ | 160.809 | 643.236 | ANVIL INTERNATIONAL | 173.5 | 694 | PROTEC INC | 222.93 | 891.72 | NESI
Valvuleria | Reducción Ranurada de 10" x 8" | https://www.grainger.com/product/GRUVLOK-Concentric-Reducers-WP131518/_/N-que?searchRedirect=victaulic&breadcrumbCatId=19209&s_pp=false&picUrl=//static.grainger.com/rp/s/is/image/Grainger/2XFA6_AS01?$smthumb$webparentimage$ |  | Un | 4 | 30.5 | 122 | https://www.grainger.com/product/GRUVLOK-Concentric-Reducers-WP131518/_/N-que?searchRedirect=victaulic&breadcrumbCatId=19209&s_pp=false&picUrl=//static.grainger.com/rp/s/is/image/Grainger/2XFA6_AS01?$smthumb$webparentimage$ | 385.575 | 1542.3 | ANVIL INTERNATIONAL | 35.9 | 143.6 | PROTEC INC | 378.76 | 1515.04 | NESI
Valvuleria | Adaptador Ranurada-Flage 8" | https://www.grainger.com/product/GRUVLOK-Flanges-WP131521/_/N-que?searchRedirect=victaulic&breadcrumbCatId=19209&s_pp=false&picUrl=//static.grainger.com/rp/s/is/image/Grainger/2XEU4_AS01?$smthumb$webparentimage$ |  | Un | 4 | 84.75 | 339 | https://www.grainger.com/product/GRUVLOK-Flanges-WP131521/_/N-que?searchRedirect=victaulic&breadcrumbCatId=19209&s_pp=false&picUrl=//static.grainger.com/rp/s/is/image/Grainger/2XEU4_AS01?$smthumb$webparentimage$ | 197.23 | 788.92 | ANVIL INTERNATIONAL | 177 | 708 | PROTEC INC | 133.01 | 532.04 | NESI
[6 empty] | Total Dólar | 35331.64 |  | Total Dólar | 10118.676 |  | Total Dólar | 9830.33 |  | Total Dólar | 17030.86
Note on G12: Msuarez: https://www.zoro.com/value-brand-brass-ball-valve-inline-fnpt-1-14-in-6gd17/i/G1636555/ https://www.zoro.com/ashcroft-pressure-gauge-0-to-300-psi-3-12in-35w1005ph02lxulzg300-8382/i/G0418135/ https://www.zoro.com/value-brand-siphon-250-psi-14-in-natured-brass-5tul0/i/G1837543/
Note on M12: Msuarez: https://www.homedepot.com/p/Everbilt-100-PSI-Pressure-Gauge-with-1-4-in-Lower-Connection-EBM1002-4L/205617969 https://www.homedepot.com/p/Everbilt-1-4-in-Lead-Free-Brass-Threaded-FPT-x-FPT-Ball-Valve-116-2-14-EB/205817885 https://www.homedepot.com/p/Woodford-Manufacturing-Company-1-2-in-x-3-4-in-Brass-Sweat-x-MPT-x-6-in-L-Freeze-Resistant-Anti-Siphon-Sillcock-17CP-6-MH/202527083
Note on P12: Msuarez: https://www.homedepot.com/p/Everbilt-100-PSI-Pressure-Gauge-with-1-4-in-Lower-Connection-EBM1002-4L/205617969 https://www.homedepot.com/p/Everbilt-1-4-in-Lead-Free-Brass-Threaded-FPT-x-FPT-Ball-Valve-116-2-14-EB/205817885 https://www.homedepot.com/p/Woodford-Manufacturing-Company-1-2-in-x-3-4-in-Brass-Sweat-x-MPT-x-6-in-L-Freeze-Resistant-Anti-Siphon-Sillcock-17CP-6-MH/202527083
Note on M13: Msuarez: https://www.amazon.com/Industrial-Thermometer-30-240-F/dp/B007IBWVXI/ref=sr_1_2?s=industrial&ie=UTF8&qid=1513013249&sr=1-2&keywords=industrial+thermometer+30+to+240
Note on P13: Msuarez: https://www.amazon.com/Industrial-Thermometer-30-240-F/dp/B007IBWVXI/ref=sr_1_2?s=industrial&ie=UTF8&qid=1513013249&sr=1-2&keywords=industrial+thermometer+30+to+240
Note on G14: Msuarez: PROTEC INC
Note on M15: Msuarez: PROTEC INC
Note on P15: Msuarez: PROTEC INC
Note on M16: Msuarez: PROTEC INC
Note on P16: Msuarez: PROTEC INC
Note on M17: Msuarez: PROTEC INC
Note on P17: Msuarez: PROTEC INC
Note on M18: Msuarez: PROTEC INC
Note on P18: Msuarez: PROTEC INC

## PVC
Tipo | Items | Link | Fotografia | Und. | Cant. | Precio Unitario ($) | Precio Total | Proveedor | Precio Unitario ($) | Precio Total | Proveedor | Precio Unitario ($) | Precio Total | Proveedor
PVC | Tubería PVC SCH80 8" | https://www.pvcfittingsonline.com/8008-080ab-8-schedule-80-pvc-pipe-5ft.html |  | ml | 60 | 72.32 | 4339.2 | https://www.pvcfittingsonline.com/8008-080ab-8-schedule-80-pvc-pipe-5ft.html |  | 0 |  | 284.6 | 5692 | NESI
PVC | Tubería PVC SCH80 6" | https://www.pvcfittingsonline.com/8008-060ab-6-schedule-80-pvc-pipe-5-ft-section.html |  | ml | 3 | 47.21 | 141.63 | https://www.pvcfittingsonline.com/8008-060ab-6-schedule-80-pvc-pipe-5-ft-section.html |  | 0 |  | 280.4 | 560.8 | NESI
PVC | Codos 90° PVC SCH80 8'' | https://www.pvcfittingsonline.com/806-080-8-schedule-80-pvc-ell-slip-x-slip.html |  | Un | 18 | 69.61 | 1252.98 | https://www.pvcfittingsonline.com/806-080-8-schedule-80-pvc-ell-slip-x-slip.html | 69.86 | 1257.48 | https://www.amazon.com/Spears-Fitting-Degree-Schedule-Socket/dp/B001O5SSLI/ref=sr_1_fkmr0_2?s=industrial&ie=UTF8&qid=1513016401&sr=1-2-fkmr0&keywords=elbow%2B90%2B%C2%B0%2Bpvc%2Bsch%2B80%2B8%27%27&th=1 | 72.69 | 1308.42 | NESI
PVC | TEE PVC SCH80 8'' | https://www.pvcfittingsonline.com/801-080-8-schedule-80-pvc-tee-slip-x-slip-x-slip.html |  | Un | 4 | 98.88 | 395.52 | https://www.pvcfittingsonline.com/801-080-8-schedule-80-pvc-tee-slip-x-slip-x-slip.html | 158.88 | 635.52 | https://www.amazon.com/dp/B008HOVJ3I/ref=twister_B00ALMJ2UG?_encoding=UTF8&psc=1 | 102.86 | 411.44 | NESI
PVC | Reducción PVC SCH80 8'' x 6" | https://www.pvcfittingsonline.com/829-585-8-x-6-schedule-80-pvc-reducing-coupling.html |  | Un | 4 | 142.38 | 569.52 | https://www.pvcfittingsonline.com/829-585-8-x-6-schedule-80-pvc-reducing-coupling.html |  | 0 |  | 143.7 | 574.8 | NESI
PVC | Van Stone Slip Flange PVC SCH80 8" | https://www.pvcfittingsonline.com/854-080-8-schedule-80-pvc-van-stone-flanges.html |  | Un | 22 | 31.52 | 693.44 | https://www.pvcfittingsonline.com/854-080-8-schedule-80-pvc-van-stone-flanges.html |  | 0 |  | 32.76 | 720.72 | NESI
PVC | Van Stone Flange PVC SCH80 6" | https://www.pvcfittingsonline.com/854-060-6-schedule-80-pvc-van-stone-flanges.html |  | Un | 4 | 19.39 | 77.56 | https://www.pvcfittingsonline.com/854-060-6-schedule-80-pvc-van-stone-flanges.html |  | 0 |  | 20.11 | 80.44 | NESI
PVC | Injerto PVC SCH80 8" x 1/2" | http://www.riuvert.es/en/product/1532/graft-clip |  | Un | 4 |  | 0 | http://www.riuvert.es/en/product/1532/graft-clip |  | 0 |  | 135.11 | 540.44 | NESI
PVC | Injerto PVC SCH80 8" x 1/4" |  |  | Un | 4 |  | 0 |  |  | 0 |  | 2.67 | 10.68 | NESI
PVC | Anillo liso PVC SCH80 1/2" | https://www.pvcfittingsonline.com/829-005-1-2-schedule-80-pvc-couplings-slip-x-slip.html |  | Un | 4 | 1.15 | 4.6 | https://www.pvcfittingsonline.com/829-005-1-2-schedule-80-pvc-couplings-slip-x-slip.html |  | 0 |  | 1.17 | 4.68 | NESI
PVC | Anillo NPT PVC SCH80 1/4" | https://www.pvcfittingsonline.com/830-002-1-4-schedule-80-pvc-coupling.html |  | Un | 4 | 1.37 | 5.48 | https://www.pvcfittingsonline.com/830-002-1-4-schedule-80-pvc-coupling.html |  | 0 |  | 1.89 | 7.56 | NESI
PVC | Anillo liso PVC SCH80 8" | https://www.pvcfittingsonline.com/829-080-8-schedule-80-pvc-couplings-slip-x-slip.html |  | Un | 8 | 28.73 | 229.84 | https://www.pvcfittingsonline.com/829-080-8-schedule-80-pvc-couplings-slip-x-slip.html |  | 0 |  | 29.89 | 239.12 | NESI
PVC | Pegamento PVC | https://www.pvcfittingsonline.com/oatey-heavy-duty-gray-cement-8oz-31094.html |  | Gal | 6 | 10.97 | 65.82 | https://www.pvcfittingsonline.com/oatey-heavy-duty-gray-cement-8oz-31094.html | 18.2 | 109.2 | PVC PIPES | 47.63 | 285.78 | NESI
PVC | Limpiador PVC | https://www.pvcfittingsonline.com/oatey-nsf-purple-pvc-cpvc-primer-1-2-pint.html |  | Gal | 3 | 5.32 | 15.96 | https://www.pvcfittingsonline.com/oatey-nsf-purple-pvc-cpvc-primer-1-2-pint.html | 8.73 | 26.19 | PVC PIPES | 23.79 | 71.37 | NESI
PVC | Sellante liquido para PVC | https://www.pvcfittingsonline.com/christy-s-ultra-seal-pipe-thread-sealant-1-4-pint.html |  | Gal | 1 | 6.35 | 6.35 | https://www.pvcfittingsonline.com/christy-s-ultra-seal-pipe-thread-sealant-1-4-pint.html |  | 0 |  |  | 0 | NESI
[6 empty] | Total Dólar | 7797.9 |  | Total Dólar | 2028.39 |  | Total Dólar | 10508.25

## FERRETERIAS VARIOS
Tipo | Items | Link | Fotografia | Und. | Cant. | Precio Unitario ($) | Precio Total | Proveedor | Precio Unitario ($) | Precio Total | Proveedor | Precio Unitario ($) | Precio Total | Proveedor
Electrcidiad | Tuberia flexible liquid thigt 4'' | https://www.platt.com/platt-electric-supply/Flexible-Conduit-Liquidtight-Metallic/Multiple/6210-30-00/product.aspx?zpid=399523 |  | ml | 10 | 17.58 | 175.8 |  | 20.77 | 207.7 | https://www.homedepot.com/p/AFC-Cable-Systems-3-4-x-25-ft-Non-Metallic-Liquidtight-Conduit-6003-22-00/100027081?MERCH=REC-_-SearchPLPHorizontal1_rr-_-NA-_-100027081-_-N |  | 0
Electrcidiad | Conectores rectos LQ 4'' | https://www.platt.com/platt-electric-supply/Liquidtight-Flex-Die-Cast-Straight-Connector/Arlington/LT400/product.aspx?zpid=332179 |  | Un | 2 | 177.31 | 354.62 |  |  | 0 |  |  | 0
Electrcidiad | Teipe Negro | https://www.zoro.com/power-first-elctricl-tape-7-mil-34x60-ft-blk-pk10-19n747/i/G4530355/ |  | Un | 5 | 12.56 | 62.8 |  | 6.25 | 31.25
Electrcidiad | Teipe de Goma | https://www.zoro.com/scotch-splicing-tape-30-mil-34-x-30-ft-black-130c-34x30ft/i/G3202805/ |  | Un | 3 | 13.32 | 39.96
Electrcidiad | Cable de cobre, Trenzado,Monopolar, THHN o THWN-2, TC90°C, CALIBRE 1/0 AWG | https://www.platt.com/platt-electric-supply/THHN-Stranded-1-0-AWG/Multiple/1ATHHNCSTRBLAX1000/product.aspx?zpid=70171 |  | Ml | 1050 | 2.28 | 2394 |  |  | 0 |  |  | 0
Electrcidiad | Cable de cobre, Trenzado,Monopolar, THHN o THWN-2, TC90°C, CALIBRE 2/0 AWG | https://www.platt.com/platt-electric-supply/THHN-Stranded-2-0-AWG/Multiple/2ATHHNCSTRX1000/product.aspx?zpid=70180 |  | Ml | 45 | 2.85 | 128.25 | [5 empty] | 0
Electrcidiad | Interruptor Termomagnetico (BREAKER) con tornillos , 3 polo, 65 KA ICC, 480V, CAP. 800A (TIPO MJ SCHNEIDER) con conexión para 3 cable 2/0 por linea (Accesorio CU800M23K) | https://www.schneider-electric.us/en/product/MJA36800/molded-case-circuit-breaker-600v-800a/?range=1853-powerpact-m-frame-molded-case-circuit-breakers&node=6081008282-i-line-mccb |  | Un | 1 | 12630 | 12630 |  |  | 0 |  |  | 0
Electrcidiad | Interruptor Termomagnetico (BREAKER) con tornillos , 3 polo, 65 KA ICC, 480V, CAP. 1000A (TIPO MJ SCHNEIDER) con conexión para 3 cable 2/0 por linea (Accesorio CU800M23K) |  |  | Un | 1 | 12630 | 12630 |  |  | 0 |  |  | 0
[6 empty] | Total Dólar | 12630 |  | Total Dólar | 0 |  | Total Dólar | 0
Tipo | Items | Link | Fotografia | Und. | Cant. | Precio Unitario ($) | Precio Total |  | Precio Unitario ($) | Precio Total |  | Precio Unitario ($) | Precio Total
Ferreteria | Hoja de Segueta | https://www.zoro.com/lenox-hack-saw-blade-bi-metal-12x12-in-32-tpi-s232he/i/G4538721/ |  | Un | 4 | 2.71 | 10.84
Ferreteria | Disco Extra fino 4 1/2" | https://www.zoro.com/dewalt-cutoff-wheel-a60t-4-12x045x78-dw8062/i/G3464501/ |  | Un | 10 | 1.61 | 16.1 |  | 2.99 | 29.9 |  |  | 0
Ferreteria | Disco para metal 4 1/2" | https://www.zoro.com/metabo-cutoff-whl-combinator-4-12inx78x78in-616500420/i/G7561732/ |  | Un | 4 | 4.82 | 19.28 |  | 2.99 | 11.96 |  |  | 0
Ferreteria | Brocha 1/2" | https://www.zoro.com/wooster-paint-brush-angle-sash-2-q3208-2/i/G0467251/ |  | Un | 2 | 3.33 | 6.66 |  | 6.49 | 12.98 |  |  | 0
Ferreteria | Riel Strut perforado 1 5/8" (piezas de 2 metros) | https://www.platt.com/platt-electric-supply/Channel-w-Holes-Elongated-Steel/Power-Strut/PS-200-EH-10-PG/product.aspx?zpid=157435 |  | Un | 30 | 3.18 | 95.4 |  | 15 | 450 |  |  | 0
Ferreteria | Angulos perforados 1/2" | https://www.zoro.com/value-brand-channel-angle-plate-silver-v325eg/i/G0475413/ |  | Un | 150 | 3.32 | 498 |  |  | 0 |  |  | 0
Ferreteria | Abrazadera Morocha 8" | https://www.grainger.com/product/GRAINGER-APPROVED-Steel-Channel-Rigid-Pipe-Strap-5YB96?breadcrumbCatId=12783&functionCode=P2IDP2PCP |  | Un | 30 | 5.075 | 152.25 |  |  | 0 |  |  | 0
Ferreteria | Abrazadera Morocha 6" |  |  | Un | 6 | 5.075 | 30.45 |  |  | 0 |  |  | 0
Ferreteria | Tirrap 11" (paquete de 100) | https://www.zoro.com/ty-rapr-cable-tie-114-in-natural-pk100-ty5253m/i/G0650422/ |  | Paquete | 3 | 22.64 | 67.92 |  |  | 0 |  |  | 0
Ferreteria | Cinta para marcar de 8" | https://www.zoro.com/3m-cubitron-ii-cloth-belt-8-in-x-132-in-36-yf-27513/i/G7550986/ |  | Paquete | 3 | 127.62 | 382.86 |  |  | 0 |  |  | 0
Ferreteria | Tornillos 1/2" G5 | https://www.grainger.com/product/FABORY-Grade-5-Tap-Bolt-1-2-13-41UE21 |  | Un | 300 | 0.77 | 231 |  |  | 0 |  |  | 0
Ferreteria | Tuercas 1/2" G5 | https://www.zoro.com/fabory-hex-nut-12-13-gr-5-zp-pk50-u013000500001/i/G0717805/ |  | Un | 300 | 6.47 | 1941 |  | 0.06955 | 20.865 |  |  | 0
Ferreteria | Arandelas 1/2" G5 | https://www.grainger.com/product/GRAINGER-APPROVED-1-2-x1-3-8-O-D-4RVU2?breadcrumbCatId=3562&functionCode=P2IDP2PCP |  | Un | 300 | 0.51 | 153 |  | 0.0759 | 22.77 |  |  | 0
Ferreteria | Tuercas 3/4'' G5 | https://www.zoro.com/fabory-hex-nut-34-10-gr-5-zp-pk20-u013000750001/i/G4269212/ |  | Un | 192 | 6.24 | 1198.08 |  |  | 0 |  |  | 0
Ferreteria | Pernos 3/4'' x 3 1/4" G5 | https://www.zoro.com/value-brand-hhcs-34-10x3-12-steel-gr-5-plain-pk5-n010000750350/i/G0343476/ |  | Un | 192 | 13.99 | 2686.08 |  |  | 0 |  |  | 0
Ferreteria | Pernos 3/4'' x 2" G5 | https://www.zoro.com/fabory-hhcs-34-10x2-steel-gr-5-zp-pk5-u012000750200/i/G5320743/ |  | Un | 56 | 4.93 | 276.08 |  |  | 0 |  |  | 0
[6 empty] | Total Dólar | 20395 |  | Total Dólar | 548.475 |  | Total Dólar | 0
Note on J8: Msuarez: REFRICENTER (UNIDAD)
Note on J18: Msuarez: ace hardware
Note on J19: Msuarez: ace harware
Note on J20: Msuarez: ace hardware
Note on J21: Msuarez: refricenter
Note on J28: Msuarez: refricenter
Note on J29: Msuarez: refricenter

## HERRAMIENTAS
HERRAMIENTAS
Tipo | Items | Link | Fotografia | Und. | Cant. | Precio Unitario ($) | Precio Total | Precio Unitario ($) | Precio Total | Precio Unitario ($) | Precio Total
Herramienta | llaves combinada de 1 1/8" | https://www.zoro.com/proto-combination-wrench-sae-1-18in-size-j1236asd/i/G1465825/ |  | Un | 1 | 39 | 39 | 24.99 | 24.99 |  | 0
Herramienta | Set de llave ajustable 8-10-12" | https://www.zoro.com/proto-adj-wrench-set-8-10-12-chrome-3-pc-j795/i/G2001517/ |  | Un | 1 | 59.56 | 59.56 | 39.99 | 39.99 |  | 0
Herramienta | Juego de Ratchet hasta 1 1/2" | https://www.zoro.com/westward-socket-wrench-set-12-in-dr-26-pc-4pm03/i/G1596253/ |  | Un | 1 | 89.41 | 89.41 |  | 0 |  | 0
Herramienta | Juego de Destornillador electricista | https://www.zoro.com/stanley-screwdriver-set-slottedphillips-20-pc-60-220/i/G9088213/ |  | Un | 1 | 15 | 15 |  | 0 |  | 0
Herramienta | Nivel con Iman | https://www.zoro.com/stanley-magnetic-torpedo-level-9-in-groove-43-511/i/G9088222/ |  | Un | 1 | 6.75 | 6.75 | 14.99 | 14.99 |  | 0
Herramienta | Pinza pelacable de calibre 14-2/0 | https://www.grainger.com/product/BURNDY-25-3-8-L-Crimper-22P123 |  | Un | 1 | 435.5 | 435.5 | 19.99 | 19.99 |  | 0
Herramienta | Cinta metrica 5 metros | https://www.zoro.com/stanley-tape-measure-1-14-inx25-ft-yellowblack-33-725/i/G1202564/ |  | Un | 1 | 19.43 | 19.43 | 10.76 | 10.76 |  | 0
Herramienta | Taladro 11" | https://www.grainger.com/product/BOSCH-Hammer-Drill-Kit-2LDB1 |  | Un | 1 | 95.5 | 95.5 |  | 0 |  | 0
Herramienta | Cierra copa de 4" | https://www.zoro.com/milwaukee-hole-dozer-hole-saw-bi-metal-dia-4-in-49-56-9645/i/G4073072/ |  | Un | 1 | 20.37 | 20.37 | 22.99 | 22.99 |  | 0
Herramienta | Multi-Use Strap Wrenche 8" | https://www.zoro.com/klein-tools-strap-wrench-8-in-dia-cap-18-in-handle-s-18h/i/G1790196/?q=strap+wrench |  | Un | 1 | 76.91 | 76.91 |  | 0 |  | 0
[6 empty] | Total Dólar | 857.43 | Total Dólar | 133.71 | Total Dólar | 0
Note on I7: Msuarez: AC HARDWARE
Note on I8: Msuarez: ACE HARDWARE
Note on I11: Msuarez: ACE HARDWARE
Note on I12: Msuarez: ACE HARDWARE
Note on I13: Msuarez: REFRICENTER
Note on I15: Msuarez: ACE HARDWARE

## IMPLEMENTOS DE SEGURIDAD
Implementos de Seguridad
Tipo | Items | Link | Fotografia | Und. | Cant. | Precio Unitario ($) | Precio Total | Precio Unitario ($) | Precio Total | Precio Unitario ($) | Precio Total
Seguridad | Lentes transparentes | https://www.zoro.com/3m-safety-glasses-clear-uncoated-11228-00000-100/i/G1030836/ |  | Un | 5 | 1.13 | 5.65 | 4.99 | 24.95 |  | 0
Seguridad | Lentes Oscuros | https://www.zoro.com/3m-safety-glasses-gray-11327-00000-20/i/G1140867/ |  | Un | 5 | 1.57 | 7.85 | 4.99 | 24.95 |  | 0
Seguridad | Careta para Esmerilar | https://www.zoro.com/3m-faceshield-assembly-clear-polycarbonate-82783-00000/i/G3201274/ |  | Un | 1 | 22.86 | 22.86 | 29.99 | 29.99 |  | 0
Seguridad | Botas de seguridad |  |  | Un | 4 |  | 0 |  | 0 |  | 0
Seguridad | Cascos | https://www.zoro.com/msa-hard-hat-c-e-blue-4-pt-pinlock-463943/i/G0004331/ |  | Un | 4 | 6.43 | 25.72 | 14.99 | 59.96 |  | 0
Seguridad | Guantes de seguridad | https://www.zoro.com/mcr-safety-coated-gloves-l-9-pr-9669l/i/G5157485/ |  | Un | 10 | 1.39 | 13.9 |  | 0 |  | 0
Seguridad | Chalecos | https://www.zoro.com/radians-high-visibility-vest-xl-slvr-28in-zppr-sv2zgmxl/i/G9054132/ |  | Un | 4 | 6.69 | 26.76 | 14.99 | 59.96 |  | 0
[6 empty] | Total Dólar | 102.74 | Total Dólar | 199.81 | Total Dólar | 0
Note on I9: Msuarez: ACE HARDWARE
Note on I10: Msuarez: ACE HARDWARE
Note on I11: Msuarez: ACE HARDWARE
Note on I13: Msuarez: ACE HARDWARE
Note on I15: Msuarez: ACE HARDWARE

## Materiales Fase 2 (2) (hidden)
Tipo | Items | Und. | Cant.
Valvuleria | Válvulas Mariposa clase 150 8'' tipo LUG (Ductile Iron) | Un | 3 | Fratelli / Belimo
Valvuleria | Válvula de 3 vias 8" Motorizada | Un | 2 | Fratelli / Belimo
Valvuleria | Filtro Y 8'' con Brida | Un | 2 | Saeg
Valvuleria | Válvula Ventosa Automatica de 3/8" | Un | 2 | Fratelli / Belimo
Valvuleria | Empacadura 6'' | Un | 4 | Fratelli / Belimo
Valvuleria | Empacadura 8'' | Un | 22 | Fratelli / Belimo
Valvuleria | Manómetro (con Sifon1/4 y válvula de bola 1/4) | Un | 4 | Amazon / Home Depot
Valvuleria | Termometro de 9" doble escala | Un | 4 | Amazon / Home Depot
Valvuleria | Válvula Circuit Setter (Válvula de Balanceo) bridada 6" | Un | 2 | Fratelli / Belimo
Valvuleria | Junta Flexible 8" Bridada | Un | 4 | Anvil
Valvuleria | Junta Victaulic 10" | Un | 4 | Anvil
Valvuleria | Reducción Ranurada de 10" x 8" | Un | 4 | Anvil
Valvuleria | Adaptador Ranurada-Flage 8" | Un | 4 | Anvil
Tipo | Items | Und. | Cant.
PVC | PVC pipe SCH80 8 " / Tubería PVC SCH80 8" | ml | 60 | PVC PIPES SUPPLY / SAEZ
PVC | PVC pipe SCH80 6 " / Tubería PVC SCH80 6" | ml | 3 | PVC PIPES SUPPLY / SAEZ
PVC | Elbow 90 ° PVC SCH80 8 '' / Codos 90° PVC SCH80 8'' | Un | 18 | PVC PIPES SUPPLY / SAEZ
PVC | TEE PVC SCH80 8 '' / TEE PVC SCH80 8'' | Un | 4 | PVC PIPES SUPPLY / SAEZ
PVC | PVC reduction SCH80 8 '' x 6 " / Reducción PVC SCH80 8'' x 6" | Un | 4 | PVC PIPES SUPPLY / SAEZ
PVC | Van Stone Slip Flange PVC SCH80 8 " / Van Stone Slip Flange PVC SCH80 8" | Un | 22 | PVC PIPES SUPPLY / SAEZ
PVC | Van Stone Flange PVC SCH80 6 " / Van Stone Flange PVC SCH80 6" | Un | 4 | PVC PIPES SUPPLY / SAEZ
PVC | Graft PVC SCH80 8 "x 1/2" / Injerto PVC SCH80 8" x 1/2" | Un | 4 | PVC PIPES SUPPLY / SAEZ
PVC | Graft PVC SCH80 8 "x 1/4" / Injerto PVC SCH80 8" x 1/4" | Un | 4 | PVC PIPES SUPPLY / SAEZ
PVC | PVC smooth ring SCH80 1/2 " / Anillo liso PVC SCH80 1/2" | Un | 4 | PVC PIPES SUPPLY / SAEZ
PVC | NPT PVC Ring SCH80 1/4 " / Anillo NPT PVC SCH80 1/4" | Un | 4 | PVC PIPES SUPPLY / SAEZ
PVC | PVC smooth ring SCH80 8 " / Anillo liso PVC SCH80 8" | Un | 8 | PVC PIPES SUPPLY / SAEZ
PVC | PVC glue / Pegamento PVC | Gal | 6 | PVC PIPES SUPPLY / SAEZ
PVC | PVC cleaner / Limpiador PVC | Gal | 3 | PVC PIPES SUPPLY / SAEZ
PVC | Liquid sealant for PVC / Sellante liquido para PVC | Gal | 1 | PVC PIPES SUPPLY / SAEZ
Tipo | Items | Und. | Cant.
Electrcidiad | Tuberia flexible liquid thigt 4'' | ml | 10
Electrcidiad | Conectores rectos LQ 4'' | Un | 2
Electrcidiad | Teipe Negro | Un | 5
Electrcidiad | Teipe de Goma | Un | 3
Electrcidiad | Cable de cobre, Trenzado,Monopolar, THHN o THWN-2, TC90°C, CALIBRE 1/0 AWG | Ml | 1050
Electrcidiad | Cable de cobre, Trenzado,Monopolar, THHN o THWN-2, TC90°C, CALIBRE 2/0 AWG | Ml | 45
Electrcidiad | Interruptor Termomagnetico (BREAKER) con tornillos , 3 polo, 65 KA ICC, 480V, CAP. 800A (TIPO MJ SCHNEIDER) con conexión para 3 cable 2/0 por linea (Accesorio CU800M23K) | Un | 1
Electrcidiad | Interruptor Termomagnetico (BREAKER) con tornillos , 3 polo, 65 KA ICC, 480V, CAP. 1000A (TIPO MJ SCHNEIDER) con conexión para 3 cable 2/0 por linea (Accesorio CU800M23K) | Un | 1
Tipo | Items | Und. | Cant.
Ferreteria | Hoja de Segueta | Un | 4
Ferreteria | Disco Extra fino 4 1/2" | Un | 10
Ferreteria | Disco para metal 4 1/2" | Un | 4
Ferreteria | Brocha 1/2" | Un | 2
Ferreteria | Riel Strut perforado 1 5/8" (piezas de 2 metros) | Un | 30
Ferreteria | Angulos perforados 1/2" | Un | 150
Ferreteria | Abrazadera Morocha 8" | Un | 30
Ferreteria | Abrazadera Morocha 6" | Un | 6
Ferreteria | Tirrap 11" (paquete de 100) | Paquete | 3
Ferreteria | Cinta para marcar de 8" | Paquete | 3
Ferreteria | Tornillos 1/2" G5 | Un | 300
Ferreteria | Tuercas 1/2" G5 | Un | 300
Ferreteria | Arandelas 1/2" G5 | Un | 300
Ferreteria | Tuercas 3/4'' G5 | Un | 192
Ferreteria | Pernos 3/4'' x 3 1/4" G5 | Un | 192
Ferreteria | Pernos 3/4'' x 2" G5 | Un | 56
HERRAMIENTAS
Tipo | Items | Und. | Cant.
Herramienta | llaves combinada de 1 1/8" | Un | 1
Herramienta | Set de llave ajustable 8-10-12" | Un | 1
Herramienta | Juego de Ratchet hasta 1 1/2" | Un | 1
Herramienta | Juego de Destornillador electricista | Un | 1
Herramienta | Nivel con Iman | Un | 1
Herramienta | Pinza pelacable de calibre 14-2/0 | Un | 1
Herramienta | Cinta metrica 5 metros | Un | 1
Herramienta | Taladro 11" | Un | 1
Herramienta | Cierra copa de 4" | Un | 1
Herramienta | Multi-Use Strap Wrenche 8" | Un | 1
Implementos de Seguridad
Tipo | Items | Und. | Cant.
Seguridad | Lentes transparentes | Un | 5
Seguridad | Lentes Oscuros | Un | 5
Seguridad | Careta para Esmerilar | Un | 1
Seguridad | Botas de seguridad | Un | 4
Seguridad | Cascos | Un | 4
Seguridad | Guantes de seguridad | Un | 10
Seguridad | Chalecos | Un | 4